January 2014

Draft National Standards for Sustainable Drainage

1. Scope

These Standards give requirements for the design, construction, maintenance and operation of sustainable drainage systems (SuDS) in accordance with paragraph 5 of Schedule 3 (National Standards) of the Flood and Water Management Act 2010.

These standards should be applied in the light of the circumstances of the particular development, and taking account of viability.

2. National Standards

2.1 Design

Runoff destinations

SuDS 1. Surface runoff not collected for use must be discharged to one or more of the following, listed in order of priority:

- discharge into the ground (infiltration); or where not reasonably practicable,

- discharge to a surface water body; or where not reasonably practicable,

- discharge to a surface water sewer, highway drain, or another drainage system; or where not reasonably practicable,

- discharge to a combined sewer.

Off-site flood risk

SuDS 2. The design of the drainage system must mitigate any negative impact of surface runoff from the development on the flood risk outside the development boundary.

SuDS 3. Where the drainage system discharges to a surface water body that can accommodate uncontrolled surface water discharges without any impact on flood risk from that surface water body (e.g. the sea or a large estuary) the peak flow control Standards (SuDS 4 and SuDS 5) and volume control Standards (SuDS 6 to SuDS 8) do not apply.

Peak flow control

SuDS 4. For greenfield sites, the peak runoff rate from the development to any highway drain, sewer or surface water body for the 1 in 1 year rainfall event  and the 1 in 100 year rainfall event must not exceed the peak greenfield runoff rate from the site for the same event.

SuDS 5. For previously developed sites, the peak runoff rate from the development to any drain, sewer or surface water body for the 1 in 1 year rainfall event and the 1 in 100 year rainfall event must be as close as reasonably practicable to the greenfield runoff rate from the site for the same rainfall event, but must not exceed the rate of discharge for the predevelopment scenario for that event.

Volume control

SuDS 6. Where reasonably practicable, for greenfield sites, the runoff volume from the developed site to any highway drain, sewer or surface water body in the 1 in 100 year, 6 hour rainfall event must not exceed the greenfield runoff volume for the same event.

SuDS 7. Where reasonably practicable, for previously developed sites, the runoff volume from the developed site to any highway drain, sewer or surface water body in the 1 in 100 year, 6 hour rainfall event must be constrained to a value as close as is reasonably practicable to the greenfield runoff volume for the same event, but must not exceed the runoff volume for the predevelopment scenario for that event.

SuDS 8. Where it is not reasonably practicable to constrain the volume of runoff to any drain, sewer or surface water body in accordance with SuDS 6 or SuDS 7 above, the additional volume must be discharged at a rate that does not adversely affect flood risk.

Flood risk within the development

SuDS 9. The drainage system must be designed so that, unless an area is designated to hold or convey water as part of the design, flooding does not occur on any part of the site for a 1 in 30 year rainfall event.

SuDS 10. The drainage system must be designed so that flooding does not occur during a 1 in 100 year rainfall event in any part of: a building (including a basement) or in any utility plant susceptible to water (e.g. pumping station or electricity substation) within the development, or any part of the site..

SuDS 11. The drainage system must be designed so that the capacity of the drainage system takes account of the likely impacts of climate change and likely changes in impermeable area within the development over the design life of the development.

SuDS 12. The design of the drainage system must ensure that so far as is reasonably practicable, flows resulting from rainfall in excess of a 1 in 100 year rainfall event are managed in exceedance routes that minimise the risks to people and property.

Water quality

SuDS 13. The drainage system must be designed and constructed so surface water discharged does not adversely impact the water quality of receiving water bodies, both during construction and when operational.

Structural integrity

SuDS 14. Components must be designed to ensure structural integrity of the drainage system and any adjacent structures or infrastructure under anticipated loading conditions over the design life of the development taking into account the requirement for reasonable levels of maintenance.

SuDS 15. The materials, including products, components, fittings or naturally occurring materials, which are specified by the designer must be of a suitable nature and quality for their intended use.

Designing for economic sustainability

SuDS 16. The drainage system must be designed to take account of the construction, operation and maintenance requirements of both surface and subsurface components, allowing for any personnel, vehicle or machinery access required to undertake this work.

SuDS 17. The drainage system must be designed to ensure that the maintenance and operation requirements are economically proportionate.

SuDS 18. Pumping must only be used to facilitate drainage for those parts of the site where it is not reasonably practicable to drain water by gravity.

2.2 Construction

SuDS 19. The drainage system must be constructed in accordance with the approved design such that materials, including products, components, fittings or naturally occurring materials, are adequately mixed or prepared and applied, used, or fixed so as to perform adequately the functions for which they are intended and constructed in a workmanlike manner.

SuDS 20. Damage to the drainage system resulting from associated construction activities must be minimised and must be rectified before the drainage system is considered to be completed.

SuDS 21. The mode of construction of any communication with an existing sewer or drainage system must be such that the making of the communication would not be prejudicial to the structural integrity and functionality of the sewerage or drainage system.

SuDS 22. Once constructed in accordance with the approved design, an approving body must presume that a drainage system is functioning in accordance with the approved design unless there is evidence to demonstrate that it is not.

2.3 Maintenance

SuDS 23. The drainage system must be maintained to ensure that it continues to function as designed.

2.4 Operation

SuDS 24. The drainage system must be operated to ensure that it continues to function as designed.

2.5 Affordability

SuDS 25. If an applicant for approval demonstrates to the satisfaction of the approving body that construction of a drainage system in accordance with these Standards would be more expensive than construction of a drainage system in accordance with current regulations for conventional drainage systems; then the design of the sustainable drainage system to be approved must comply with these Standards to the greatest extent possible, without exceeding the construction costs of conventional drainage system compliant with current regulations.